# Munro BP Series – 5HP Centrifugal Pump

High-Performance Pressure Boosting for Turf & Industrial Applications

## Product Description

The Munro BP Series 5HP centrifugal pump is engineered for mid-size turf irrigation and industrial water systems requiring a high-pressure boost. With a rugged, high-pressure case rated up to 175 PSI and dual connection options, this compact pump is built for performance, durability, and installation flexibility.

## Specification Language

The Munro BP Series 5HP centrifugal pump, model [specify: BP0500B, BP0500B3, BP0500B3TEFC], shall be constructed with a heavy-duty cast pump case rated to 175 PSI. Pump shall include dual connection ports (threaded and grooved) for flexible system integration. The pump shall be capable of delivering up to 163 GPM with a deadhead pressure of no less than 73 PSI. Motor shall be a 5HP, [ODP or TEFC], [single or three]-phase, [208-230/460]V, 60Hz motor. Pump shall include appropriate inlet and discharge sizes and be suitable for continuous duty operation in irrigation and industrial pressure boosting applications.

## Common Applications

- Turf Irrigation – Residential, community, or commercial landscapes

- Industrial Systems – Applications requiring pressure boosting

- High-Pressure Booster – Up to 175 PSI case pressure

- Water Transfer – Efficient handling of high-volume flows

- Pump Stations – Compact footprint with easy system integration

## Key Advantages

- Dual Connection Design – Threaded and grooved options offer versatile installation

- High Performance – Excellent flow and pressure output for 5HP range

- Heavy-Duty Construction – Robust casing for long-term durability

## Performance Specifications

- Horsepower:  5 hp

- Flow Range: Up to 163 gpm

- Maximum Case Pressure: 100 psi

## Motor Specifications

| Model Number | HP | Phase | Motor Type | Voltage | FLA | SFA | Hz |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BP0500B | 5 | 1 | ODP | 208-230V | 24.0–23.7 | 1.15 | 60 Hz |
| BP0500B3 | 5 | 3 | ODP | 208–230/460V | 13.8–12.6/6.2 | 1.15 | 60 Hz |
| BP0500B3TEFC | 5 | 3 | TEFC | 208-230/460V | 12.8-11.8/5.9 | 1.25 | 60 Hz |

Maximum Liquid Temperature: 104°F

Shipping Weight (approx): 90–105 lbs

## Port Sizes

Inlet: 2" (Threaded or Grooved)
Discharge: 1½" (Threaded or Grooved)

## Dimensions (inches)

| Height | Length | Width |
| --- | --- | --- |
| 9.5 | 19.14 | 9.5 |

Note: Dimensions are approximate and subject to change.

### Manufacturer

Munro 
955 3rd Avenue, Grand Junction, CO 81501
Phone: 1.800.942.4270
Web: www.munropump.com